## Slide 1: Preparing and QC of sequence data
Including sequence file formats

## Slide 2: whoami
@lexnederbragt

## Slide 3: What do you get?

## Slide 4: Single end
Default single end sequencing
Special protocols for mate-pairs

## Slide 5: Formats
sff (454)
fasta + qual
fastq

## Slide 6: Datafiles 454
sff file (standard flowgram format)
  binary
fasta & qual
  text

## Slide 7: 454: sff file (text format)
>F7K88GK01BMPI0
Run Prefix: R_2009_12_18_15_27_42_
Region #: 1
XY Location: 0551_2346
Run Name: R_2009_12_18_15_27_42_FLX########_Administrator_yourrunname
Analysis Name: D_2009_12_19_01_11_43_XX_fullProcessing
Full Path: /data/R_2009_12_18_15_27_42_FLX########_Administrator_yourrunname/D_2009_12_19_01_11_43_XX_fullProcessing/
Read Header Len: 32
Name Length: 14
# of Bases: 500
Clip Qual Left: 15
Clip Qual Right: 490
Clip Adap Left: 0
Clip Adap Right: 0
Flowgram: 1.03 0.00 1.01 0.02 0.00 0.96 0.00 1.00 0.00 1.04 0.00 0.00 0.97 0.00 0.96 0.02 0.00 1.04 0.01 1.04 0.00 0.97 0.96 0.02 0.00 1.00 0.95 1.04 0.00 0.00 2.04 0.02 0.03 1.05 Flow Indexes: 1 3 6 8 10 13 15 18 20 22 23 26 27 28 31 31 34 35 37 37 37 40 43 45 47 47 47 50 53 53 53 55 58 60 63 66 67 67 67 67 70 71 71 74 74 76 79 82 83 86 86 88 88 91 93 96 97...
Bases: tcagatcagacacgCCACTTTGCTCCCATTTCAGCACCCCACCAAGCACAAGGCTGTCATCCCAATTGGACGGACAGATATGAGGTTAGCATTGGAAACCAATTCAGTCCCTAATTATTCACGACTGAACCCAGCGACAATTGGACATGGATTCATTTTTCAACTTGATTTGTTGTTGTAAAAGCA...
Quality Scores: 40 40 40 40 40 40 40 40 40 40 40 40 40 40 40 40 40 40 38 38 38 40 40 40 39 39 39 40 34 34 34 40 40 40 40 39 26 26 26 26 40 40 40 40 40 40 40 40 40 40 40 40 40 40 40 40 40 40 40 40 ...

## Slide 8: 454: fasta and qual files
Fasta:
>FTJD6BE02HHD3W length=409 xy=2951_1562 region=2 run=R_2009_04_01_11_28_49_
AGAAAGTCAGCGGCAAATTTGGTTTTAGACGAATTGTCCCTTTGACATAACGACTAAAGG
AGTCAACAGATTTTCGTATAACTTCGTATAATGTATGCTATACGAAGTTATTACGCTATT
...
Qual:
>FTJD6BE02HHD3W length=409 xy=2951_1562 region=2 run=R_2009_04_01_11_28_49_
40 40 39 39 39 40 40 40 40 40 40 40 40 38 31 26 26 16 16 16 20 20 14 14 14 14 27 33 32 35 36 33 36 35 36 38 35 20 20 21 24 24 22 36 39 40 38 38 38 40 40 40 40 40 40 37 37 37 33 33
29 36 38 38 38 38 38 38 38 35 20 21 21 21 31 36 37 40 40 35 37 37 40 40 40 40 40 40 40 40 40 40 40 40 40 40 40 40 40 40 40 40 40
...
Sanger-style Phred scores

## Slide 9: Quality scores
Phred-based
http://en.wikipedia.org/wiki/Phred_quality_score
Phred Quality Score | Probability of incorrect base call | Base call accuracy
10 | 1 in 10 | 90 %
20 | 1 in 100 | 99 %
30 | 1 in 1 000 | 99.9 %
40 | 1 in 10 000 | 99.99 %
50 | 1 in 100 000 | 99.999 %

## Slide 10: Read length
454 GS FLX+
> 800 bases

## Slide 11: What do you get?

## Slide 12: Paired-end
Default paired-end sequencing
  single end also possible
150– 600 bases

## Slide 13: Illumina: fastq file
@PCUS-319-EAS487_0004_FC:6:1:1351:952#0/1
CCAACATAGCTGGATGCCAACATAGCTGGATTGTTATAGCTGGTTTGCTTTTCTAACTCGCTGGAAGTTTATAAGCATTCCTACTATTTCATAGTATTAC
+PCUS-319-EAS487_0004_FC:6:1:1351:952#0/1
BBbfYcbV^BV`cQffaBZfB_fdfUYaa]`adcbfef\acfd^cad^fOabRceb`beSbdfaad_e^^dbeedTbd`V\ecdfffYBddb^fa\d\de

## Slide 14: Illumina: fastq file
@PCUS-319-EAS487_0004_FC:6:1:1351:952#0/1
CCAACATAGCTGGATGCCAACATAGCTGGATTGTTATAGCTGGTTTGCTTTTCTAACTCGCTGGAAGTTTATAAGCATTCCTACTATTTCATAGTATTAC
+PCUS-319-EAS487_0004_FC:6:1:1351:952#0/1
BBbfYcbV^BV`cQffaBZfB_fdfUYaa]`adcbfef\acfd^cad^fOabRceb`beSbdfaad_e^^dbeedTbd`V\ecdfffYBddb^fa\d\de
Sequence
Quality

## Slide 15: Illumina: fastq file
@PCUS-319-EAS487_0004_FC:6:1:1351:952#0/1
CCAACATAGCTGGATGCCAACATAGCTGGATTGTTATAGCTGGTTTGCTTTTCTAACTCGCTGGAAGTTTATAAGCATTCCTACTATTTCATAGTATTAC
+PCUS-319-EAS487_0004_FC:6:1:1351:952#0/1
BBbfYcbV^BV`cQffaBZfB_fdfUYaa]`adcbfef\acfd^cad^fOabRceb`beSbdfaad_e^^dbeedTbd`V\ecdfffYBddb^fa\d\de
Quality score as characters:
Phred score = ASCII value -33
'B' is ASCII 66  Phred 33

## Slide 16: Illumina: fastq file
Different schemes
Sanger ASCII = Phred + 33
Illumina 1.3+ ASCII = Phred + 64
Illumina 1.8+ Same as Sanger

## Slide 17: Illumina: fastq file
@PCUS-319-EAS487_0004_FC:6:1:1351:952#0/1
CCAACATAGCTGGATGCCAACATAGCTGGATTGTTATAGCTGGTTTGCTTTTCTAACTCGCTGGAAGTTTATAAGCATTCCTACTATTTCATAGTATTAC
+PCUS-319-EAS487_0004_FC:6:1:1351:952#0/1
BBbfYcbV^BV`cQffaBZfB_fdfUYaa]`adcbfef\acfd^cad^fOabRceb`beSbdfaad_e^^dbeedTbd`V\ecdfffYBddb^fa\d\de
Matching pair in the other file:
+@PCUS-319-EAS487_0004_FC:6:1:1351:952#0/2

## Slide 18: FastQ formats
Cock PJ et al 2009
The Sanger FASTQ file format for sequences with quality scores, and the Solexa/Illumina FASTQ variants.
Nucleic Acids Res. 2010 Apr;38(6):1767-71.
and
http://en.wikipedia.org/wiki/Fastq

## Slide 19: Read length
454 GS FLX Titanium
Illumina HiSeq
MiSeq: 150 bp, 250 bp
> 800 bases

## Slide 20: What do you get? Errors!
http://www.it.bton.ac.uk/staff/je/java/jewl/tutorial/tutorial.html

## Slide 21: Error profiles
454 GS FLX Titanium
Illumina Genome Analyzer II

## Slide 22: Illumina specific
Substitutions
  e.g. AG
Underrepresentation of AT and GC rich regions

## Slide 23: 454 specific
3 G's? 4 G's?

## Slide 24: Duplicate reads
Illumina: PCR step in library prep
454: two beads in one microreactor
  emulsion PCR

## Slide 25: Solving errors
Oversampling

## Slide 26: Oversampling: 454
AGAAAGTCAGCGGCAAATTTGGTTTTAGACGAA-TTGTCCCTTTGACATAACGACTAAAGG
AGAAAGTCAGCGGCAAATT-GGTTTTAGACGAA-TTGTCCCTTTGACATAACGACTAAAGG
AGAAAGTCAGCGGCAAATTTGGTTTTAGACGAAATTGTCCCTTTGACATAACGACTAAAGG
AGAAAGTCAGCGGCAAATTTGGTTTTAGACGAA-TTGTCCCTTTGACATAACGACTAAAGG
AGAAAGTCAGCGGCAAATTTGGTTTTAGACGAA-TTGTCCCTTTGACATAACGACTAAAGG
AGAAAGTCAGCGGCAAATTTGGTTTTAGACGAAATTGTCCCTTTGACATAACGACTAAAGG
AGAAAGTCAGCGGCAAATTTGGTTTTAGACGAA-TTGTCCCTTTGACATAACGACTAAAGG
AGAAAGTCAGCGGCAAATTTGGTTTTAGACGAAATTGTCCCTTTGACATAACGACTAAAGG
AGAAAGTCAGCGGCAAATT-GGTTTTAGACGAA-TTGTCCCTTTGACATAACGACTAAAGG
AGAAAGTCAGCGGCAAATTTGGTTTTAGACGAAATTGTCCCTTTGACATAACGACTAAAGG
AGAAAGTCAGCGGCAAATTTGGTTTTAGACGAA-TTGTCCCTTTGACATAACGACTAAAGG
AGAAAGTCAGCGGCAAATTTGGTTTTAGACGAA-TTGTCCCTTTGACATAACGACTAAAGG
Undercall
in two reads
Overcall
in three reads
Consensus

## Slide 27: Quality control

## Slide 28: Quality Control
454 (and others): Prinseq
Illumina (and others): fastQC, fastQA, etc

## Slide 29: Prinseq
http://edwards.sdsu.edu/prinseq_beta
Web-based and stand-alone
Upload
  fasta or fastq file
  qual file (optional)

## Slide 30: Prinseq
Demo
the 454 GS FLX+ shotgun reads for this course

## Slide 31: Prinseq: read length

## Slide 32: Prinseq: quality per position

## Slide 33: Prinseq: quality values

## Slide 34: Prinseq: GC content

## Slide 35: Prinseq: duplicate reads
Expected

## Slide 36: Prinseq: duplicate reads
Observed

## Slide 37: Prinseq: adaptors
No tag
Barcode (Roche 'MID')
Transcriptome library adaptor

## Slide 38: Prinseq: contamination
The dinucleotide
odds ratios*
Principal component analysis (PCA)
*dinucleotide frequencies normalized for the base composition

## Slide 39: FastQC
http://www.bioinformatics.bbsrc.ac.uk/projects/fastqc/
Stand-alone
GUI (Java based)
Use
  fastq file
  BAM/SAM

## Slide 40: FastQC: quality per position

## Slide 41: FastQC: quality values

## Slide 42: FastQC: nucleotide composition

## Slide 43: FastQC: GC distribution

## Slide 44: FastQC: duplicated reads

## Slide 45: Filtering/trimming
Adaptor removal
  especially Illumina
Duplicate removal
Filtering for low quality bases
  or stretches of them
  reads with 'N's
E.g.
  cutadapt
  fastX toolkit
  prinseq

## Slide 46: Practical
FastQC on MiSeq run
Filtering/trimming
Redo FastQC on filtered reads

## Slide 47: Learning points
Understand read file formats
How to judge a QC report
How to filter/trim Illumina reads